**AJB MALL STOCK**

Flex cables

**1.5mm x 3c**

474mtrs

85mtrs

**1.5mm x 4c**

1000mtrs

1000mtrs

1000mtrs

32mtrs

**1.5mm x 5c**

1000mtrs

**2.5mm x 4c**

126mtrs

175mtrs

1000mtrs

**4mm x3c**

671mtrs

**4mm x 4c**

353mtrs

1000mtrs

**4mm x 5c**

78mtrs

**6mm x 1c**

29mtrs

**6mmx 4c**

146mtrs

1000mtrs

**10mm x 2c**

11mtrs

970mtrs

Non-armoured cables

**4mm x 3c**

265mtrs

4499mtrs

970mtrs

1784mtrs

12mtrs

**4mm x 4c**

645mtrs

3100mtrs

3099mtrs

3100mtrs

**6mm x 4c**

18mtrs

20mtrs

Armoured cables

**2.5mm x 3c**

55mtrs

35mtrs

75mtrs

2477mtrs

**2.5mm x 4c**

5mtrs

15mtrs

20mtrs

28mtrs

7mtrs

13mtrs

47mtrs

10mtrs

**2.5mm x 7c**

70mtrs

**4mm x 3c**

1196mtrs

**4mm x 4c**

32mtrs

11mtrs

13mtrs

11mtrs

30mtrs

249mtrs

26mtrs

**6mm x 4c**

15mtrs

34mtrs

**10mm x 4c**

8mtrs

5mtrs

465mtrs

707mtrs

XLPE cables

**35mm x 1c 11kv**

7mtrs

7mtrs

35mtrs

16mtrs

28mtrs

36mtrs

32mtrs

8mtrs

9mtrs

15mtrs

480mtrs

34mtrs

54mtrs

332mtrs

6mtrs

1686mtrs

2000mtrs

**35mm x 1c 33kv**

3mtrs

21mtrs

13mtrs

13mtrs

5mtrs

76mtrs

24mtrs

13mtrs

13mtrs

32mtrs

22mtrs

26mtrs

27mtrs

8mtrs

7mtrs

3mtrs

500mtrs

**50mm x 1c 11kv**

5mtrs

**50mm x 1c 33kv**

10mtrs

10mtrs  
10mtrs

12mtrs

16mtrs

12mtrs

18mtrs

18mtrs

17mtrs

4mtrs

36mtrs

15mtrs

10mtrs

3mtrs

4mtrs

4mtrs

6mtrs

4mtrs

13mtrs

8mtrs

45mtrs

45mtrs

27mtrs

**70mm x 1c 11kv**

5mtrs

25mtrs

6mtrs

43mtrs

20mtrs

8mtrs

14mtrs

**70mm x 1c 33kv**

5mtrs

14mtrs

18mtrs

13mtrs

52mtrs

12mtrs

6mtrs

57mtrs

29mtrs

50mtrs

34mtrs

33mtrs

30mtrs

27mtrs

**95mm x 1c 11kv**

5mtrs

13mtrs

**95mm x 1c 33kv**

13mtrs

**120mtrs x 1c 33kv**

4mtrs

6mtrs

4mtrs

11mtrs

14mtrs

60mtrs

5mtrs

**185mm x 1c 33kv**

18mtrs

**240mm x 1c 33kv**

6mtrs

9mtrs

21mtrs

24mtrs